# Section 08.42.43

Low Energy Power Operated Sliding ICU Doors Series 5800 IC MATIC ICU / CCU Doors

PART 1. GENERAL

# Summary

    - Work Included: Furnish and install automatic aluminum door system(s), factory fabricated for intensive care / critical care applications. Door packages shall be complete and without damage or defect.

    - Related work:

      - Section 07900 – Joint Sealers

      - Section 08400 – Entrances and Storefronts

      - Section 08700 – Hardware

      - Section 08800 – Glazing

# References

    - American Architectural Manufacturers Association – AAMA 101

    - American National Standards Institute – ANSI 156.38; Z97.1

    - The Aluminum Association – Designation System for Aluminum Finishes

    - National Fire Protection Association Life Safety Code – NFPA 101

    - ICC / IBC – International Building Code

    - ASTM B221 Standard Specification for Aluminum and Aluminum Alloy

    - UL1784 Smoke rating and draft

# Submittals

    - Product Data: Provide complete product and installation documentation as provided by the manufacturer.

    - Shop Drawings: Provide details of door construction, including profiles, dimensioned layout, and assembly, including finish, glazing, and anchoring requirements.

    - Contract Closeout: Provide Manufacturer’s Warranty documentation and Owner’s Manual (if applicable).

# Quality Assurance / Warranty

Manufacturer must have a minimum of five (5) years’ experience in the fabrication of aluminum-and-glass door assembly similar to those specified. Door packages shall be warranted against defect in material and workmanship for a period of two (2) years from the date of installation.

# Project Conditions

Verify installation conditions with dimensional check of frame openings, including plumb and square, and floor conditions.

PART 2: PRODUCT

# Manufacturer

Low Energy Power Operated Automatic ICU sliding door packages as detailed shall be supplied by record-usa, Monroe, NC, a member of the record Group. No substitutions will be allowed.

# Design

    - Sliding Door Package: Low Energy Power Operated Automatic ICU sliding door packages shall include slide/swing door panel(s), swing side panel(s), side jambs, headers (4.25” x 7.25”) with track, and door bottom guides (trackless max). Only single slide version is available.

    - Head Section: Continuous extruded aluminum header and cover shall conceal continuous roller track with integrated anti-derail. Door carrier assemblies incorporate four precision, sealed ball bearing rollers and Grade 8 alloy steel hanger bolts.

    - Frames and Doors: Slide jambs shall be 1-3/4” x 4-1/2” closed aluminum tube. Door construction includes 1-3/4” deep profiles and shear block / corner gussets in each corner. Concealed door bottom guides shall provide stable door movement, and shall slide in Trackless bottom guide, concealed in the adjacent panel.

Trackless units shall include a 2-way manual flush bolt securing the swing sidelite (when engaged, a floor “foot” will apply pressure to the floor, keeping the sidelite in line with the frame for normal operation); for full open access the flush bolt is released and slide / swing panels slid to the full open position. A simple one-motion disengagement for breakout access is required. Weather seals shall be included on adjoining surfaces and panels shall be sized (sidelites are narrower than the slide panels) to avoid pinch points during slide.

    - Hardware:

      - Electric positive latching

        - Latches sliding and breakout automatically every time door closes

        - No hookbolt protrusions in opening under normal operation

        - Fail secure locking with an emergency manual override

      - Standard key cylinder hookbolt locking

    - Operator: A door shall be driven by a sealed DC gearmotor and a nylon reinforced drive belt. The multi-function microprocessor control shall provide fully adjustable open, close, and check speeds. An adjustable hold open time delay (1-60 seconds) shall be provided. The microprocessor shall provide a safety-first recycle/stop feature if closing/ opening is obstructed. The control shall provide a self-monitor system that compensates each cycle for changes in temperature, wind load, pressure, and mechanical drag, and checks for proper internal operation. The control shall automatically adjust motor speeds, checking action, and other operating characteristics. The SMART control panel shall be provided with the following modes:

─Automatic

─Off

─Exit only

─Full Open

─Partial Open

The reduced opening distance shall be field adjustable and can be constant or a function of traffic frequency. Selectable ratchet mode shall keep the door in the open position until a second activation signal. After receipt of a second activation signal, the door shall close. The operator shall allow the door to be opened manually in power-off conditions. Optional battery pack shall automatically either open or close the door(s) after power is lost.

    - Knowing Act Activation: The 5800 Series will be equipped with two (2) hand wave sensors. Other options for activation include two 4.5” X 4.5” activation plates or card readers.

# Material and Finish

All structural aluminum shall be 6063-T5 tempered alloy, with exposed surfaces to be integral color anodized (painted) to one of the following finishes:

    - 204-R1 Clear

    - Class 1 two-step, hardcoat dark bronze

    - Other anodized, clad or painted finish as specified

# Requirements for Work Specified in Other Sections:

    - Electrical: The General Contractor or Electrical Contractor shall furnish and install all wiring to the operator. Provide 120VAC, 60 Hz, 1 Phase, 15 amp service to each operator header on a separate, dedicated circuit routed into the header.

    - Glass and Glazing: Glazing bead and setting blocks shall be in compliance with ANSI Z97.1

PART 3: EXECUTION

# Inspection

Inspect frame openings for correct size, plumb and square, and level floor for safe and reliable performance. Provide written notification of conditions not acceptable to the installer and / or manufacturer. Proceed with installation only after necessary corrections are made for suitable operation.

# Installation

Install package plumb, square, and level in properly prepared and supported opening, using specified fasteners, as required by the manufacturer and as detailed on approved shop drawings.

# Instruction

Following the installation and final adjustments, the installer / Record-USA distributor shall fully instruct the facility manager / supervisor as to correct operating procedure and safety requirements of the following sliding door system.

# Final Cleanup

After installation and adjustment for smooth, reliable operation, clean the door package and remove all surplus material, equipment, and debris incidental to this work.

END OF SECTION