SECTION 08 42 29.13 – FOLDING AUTOMATIC ENTRANCES

GENERAL

- <SPECIFIER:  Edit this specification as required for the project>

SUMMARY

Furnish and install folding automatic aluminum/glass entrance system(s).

REFERENCES

UNDERWRITERS LABORATORIES (UL):

UL 325 – Standard for Door, Drapery, Gate, Louver, and Window Operators and Systems.

American National Standards Institute (ANSI) / Builders Hardware Manufacturers Association (BHMA):

ANSI/BHMA A156.10: American National Standard for Power Operated Pedestrian Doors.

ANSI Z97.1 Standards for Safety Glazing Material Used in Buildings.

American Society for Testing and Materials (ASTM):

ASTM B221 - Standard Specification for Aluminum and Aluminum-Alloy Extruded Bars, Rods, Wire, Profiles, and Tubes.

American Association of Automatic Door Manufacturers (AAADM).

National Fire Protection Association (NFPA):

NFPA 101 – Life Safety Code.

NFPA 70 – National Electric Code.

[Canadian Standards Association (CSA).]

CAN/CSA-C22.2 No. 247 – Operators and Systems of Doors, Gates, Draperies, and Louvers.

International Code Council (ICC):

[IBC:  International Building Code.]

[CBC: California Building Code.]

National Association of Architectural Metal Manufacturers (NAAMM):

Metal Finishes Manual for Architectural and Metal Products.

American Architectural Manufacturers Association (AAMA):

AAMA 607.1 - Clear Anodic Finishes for Architectural Aluminum.

DEFINITIONS

FS Panel:  Fold swing panel.

FX Panel:  Fold slide panel.

PERFORMANCE REQUIREMENTS

Temperature Change:

Minus 30-degree Fahrenheit (minus 34 degree Celsius) to 130-degree Fahrenheit (54 degree Celsius).

SUBMITTALS

Product Data: Provide complete product and installation documentation as provided by the manufacturer.

Shop Drawings: Provide shop drawings including elevations, sections, and details of entrance construction.  Include profiles, dimensioned layout, operator, motion /presence sensor control devices, indicating assembly, finish, glazing, electrical, and anchoring requirements.

Informational Submittal:  Manufacturer's product information indicating the  available sustainability credits that can contribute towards LEED certification.

Manufacturer's certificate indicating percentage of pre-consumer, post-consumer, and new content in the extruded aluminum.

Provide manufacturer’s operating and maintenance manual.  The manual to include the name, address, and contact information of the manufacturer providing the entrance and their nearest service representatives.  A spare parts list shall also be included.

Provide manufacturer’s warranty documentation.

QUALITY ASSURANCE

Manufacturer must have a minimum of five (5) years experience in the fabrication of automatic aluminum-and-glass entrance assemblies similar to those specified.

Folding automatic entrances shall be obtained solely through an authorized trained and factory certified provider.

Folding automatic entrances shall be certified to meet performance design criteria of the following standards.

ANSI/BHMA 156.10

NFPA 101

UL 325

cUL

IBC

Installation shall be approved by an AAADM certified inspector.

FIELD CONDITIONS

Shop drawings must be reviewed and confirmed by the General Contractor.  Verify actual dimensions of openings to receive automatic entrances by field measurements before fabrication and indicate on shop drawings.

Rough openings must be verified to be plumb, straight, and secure.

General Contractor to make door installer aware of any non-conforming conditions or equipment not indicated on the shop drawings.

Coordinate power requirements, layout, and connections to power supplies with installation of automatic entrances.

Electrical contractor shall furnish and install all wiring to header.

WARRANTY

Project Warranty:  Folding automatic entrance shall be warranted against defect in material and workmanship for a period of two years from the date of manufacturer shipment.

During the warranty period a factory-trained technician shall perform service and repairs. An inspection shall be performed after each adjustment or repair.

During the warranty period all warranty work, including but not limited to emergency service, shall be performed during normal business hours.

PRODUCT

MANUFACTURER

- record-USA

- Monroe, North Carolina, USA

- (800) 438-1937

FOLDING AUTOMATIC ENTRANCES

Folding automatic entrances shall be furnished with all required components for a complete installation.  Entrances shall include the following:

Folding panels.

Side jambs.

Door pivots.

Header.

Single operator.

Idler pulley and drive belts.

Microprocessor control.

Activation and safety devices.

- <SPECIFIER:  Select record 4500 for an entrance that is mounted between the wall jambs of the opening (option 1 below), select record 4600 for an entrance that is surface mounted on the face of the wall (option 2 below)>

Basis of Design:  [Record 4500] [Record 4600] Series Slide/Fold Automatic Entrance with stile and rail panels.

- <SPECIFIER:  Select entrance configuration(s) as required for the project>

[Configuration:  FS-FX-FX-FS; Pair of bi-parting folding doors, breakout.]

Direction of Fold:  [Out-fold.]  [In-fold.]

Two folding swing panels and two folding slide panels.

Traffic Pattern:  [One] [Two] way.

Emergency Breakout:  Folding slide panels.

Mounting:  Between jambs.

[Configuration:  FS-FX-FX-FS; Surface mounted, pair of bi-parting folding doors, breakout.]

Direction of Fold:  [Out-fold.]  [In-fold.]

Two folding swing panels and two folding slide panels.

Traffic Pattern:  [One] [Two] way.

Emergency Breakout:  Folding slide panels.

Mounting:  Surface mounted header installed on face of wall.

ENTRANCE COMPONENTS

Aluminum: Alloy and temper recommended by manufacturer for type of use and specified finish.

Header, frames, stiles and rails:  Alloy 6063-T5.

Extruded bars, rods, profiles and tubes:  ASTM B221.

Sheet and plate:  ASTM B209.

Folding Panels: Shall have 1-3/4” thick extruded aluminum stiles and rails, with a minimum 0.125 inch (3.2 mm) structural wall thickness. Stiles and rails shall be mechanically fastened with mortise and tenon blocks.

- <SPECIFIER:  Sight line width of the vertical stiles is an additional 3/4" (19 mm) due to the width of the glazing stop>

Vertical Stile Width:  Narrow stile, 2” (51 mm).

- <SPECIFIER:  Sight line width of horizontal rail is an additional 1-1/2" (38 mm) due to the width of the glazing stops>

[Horizontal Rail (Muntin Bar) Height:  [1-1/2” (38 mm).]   [2-1/2” (64 mm).]   [3” (76 mm).]  [3-1/2” (89 mm).]  [4” (102 mm).]  [5” (127 mm).] [6” (152 mm).]

- <SPECIFIER:  Sight line width of bottom rail is an additional 3/4" (19 mm) due to the width of the glazing stops>

Bottom Rail Height:  [3-1/2” (89 mm).]  [6” (152 mm).]  [10” (254 mm).]

Swing-out Panels:  Panels can swing out 90 degrees at any point in the slide movement to provide egress per NFPA 101. Required force to “breakout” panels shall not exceed 50lbf (222N) applied to the lock stile. Entrances with breakout feature are UL Listed as an exit way.

Glazing Material:  Comply with ANSI Z97.1.

- <SPECIFIER:  Select required glass thickness.  Requirements for glazing specified in Division 8 Section “Glazing”.  Glass provided “by others”>

Slide/Fold Panels Glazing Prep:  [1/4” (6 mm) glass thickness standard.]  [3/8” (9.5 mm) glass thickness.]  [1/2” (13 mm) glass thickness.]  [9/16” (14 mm) glass thickness.]  [5/8” (16 mm) glass thickness.]  [3/4” (19 mm) glass thickness.]  [1” (25 mm) glass thickness.]

See Division 8 Section “Glazing” for glass requirements.

Exterior Glass Stop Extrusion:  Slide/Fold panels shall be provided with non-removable security glass.

Framing Members:  Extruded aluminum, minimum 0.125 inch (3.2 mm) thick and reinforced as required to support imposed loads.

Side Jamb Size:  [1” x 4-1/2” (25 mm x 114 mm).]  [1-3/4” x 4-1/2” (44 mm x 114 mm).]

[Transom shall be as indicated on the drawings.]

Header:  Extruded aluminum header extending the full width of the entrance, installed between the jambs.

Header Size:  9” wide x 7” high (229 mm wide x 178 mm high).

The header shall have removable access panel for servicing of door operator and control.

HARDWARE

Provide units in sizes and types recommended by folding automatic entrance manufacturer for uses indicated.

Breakaway Devices:  Pivot and hinge assemblies that allow panels to swing in the direction of egress to full 90 degrees from any operating position.

Spring-loaded adjustable ball detent shall retain folding slide panels in a closed position.

Opening space between side jamb and fold swing panel shall not require the use of finger guards per ANSI/BHMA A156.10.

Locking Devices:

- <SPECIFIER:  Select the locking device(s) required for the project>

- <SPECIFIER:  AHJ approval is required for the locking devices that is specified for the slide-fold entrance>

- <SPECIFIER:  The following locking devices are available on both the out-fold or in-fold entrances>

[Security Two-Point Lock:  Hook bolt deadlock latches into the adjacent strike stile or jamb and extends a concealed vertical flush bolt into the threshold.]

Operated by keyed cylinder on exterior side.

Operated by [thumb turn]  [keyed cylinder] on interior side.

[Lock indicator provided on interior side.]

- <SPECIFIER:  The following locking device is available on both the out-fold or in-fold entrances>

- <SPECIFIER:  The following locking devices require the battery back-up>

[In-Panel Electric Lock:  Fail-safe lock that prevents the folding of the door panels thus preventing the breakout of the folding panels.]

- <SPECIFIER:  The following locking device is available on the in-fold entrances only>

[Pedestal Lock:  Electrified lock prevents rotation of the belt pulley locking the movement of the folding panels.]

- <SPECIFIER:  The following locking devices are available on both the out-fold or in-fold entrances>

- <SPECIFIER:  The following locking devices require the battery back-up>

      - [In-Panel Electric Lock + Pedestal Lock Combination:  Combination of the fail-safe in-panel electric lock which prevents the folding of the door panels thus preventing the breakout of the folding panels and the electrified pedestal lock which prevents rotation of the belt pulley locking the movement of the folding panels.  A sequencer is also included to synchronize the operation of the two different locks.]

Weather Stripping:  Replaceable weather stripping to reduce energy loss. Manufacturer’s standard weather stripping includes the following:

Double pile wool weather stripping for the full height of the pivot stile of the FS panel.

Guide Track/Threshold:  Manufacturer’s sway rail/threshold as indicated.

- <SPECIFIER:  Threshold is optional with the Slide/Fold entrance>

[Threshold:  [1/2 inch (12.7mm)]  [1/4 inch (6mm)] high continuous aluminum threshold shall span the width of the folding entrance header and fit between the vertical framing members.  Threshold shall meet ADA requirements and include ramps where required for the floor conditions indicated.]

DOOR OPERATORS AND CONTROLS

Motor Gearbox Assembly:  Folding panel movement shall be driven by a sealed, low voltage class II, 1/8 horsepower 24v DC motor and gearbox, idler pulley, and steel reinforced drive belt.  The motor shall have a current draw of not more than 100 watts.  The sealed motor gearbox assembly shall be capable of driving panels up to 220 lbs.  The motor gearbox assembly shall be mounted directly to the header extrusion.

Microprocessor Control: The multifunction microprocessor control shall provide fully adjustable open, close, and check speeds; hold open time delay (1-30 seconds). The microprocessor shall provide a safety-first recycle/stop feature if the closing or opening of door is obstructed.  The control shall self-monitor each cycle compensating for changes in temperature, wind load, pressure, mechanical drag, and checks for proper internal operation.  Authorized service personnel are able to make door performance adjustments to the control.  The control shall have the following modes: Automatic, Off, Exit Only, Full Open, and Partial Open.

Master Control:  The master control shall be capable of being programmed by either the S.M.A.R.T. panel or by an application loaded on a smart device which is accessed with a dongle plugged into the operator. Both the S.M.A.R.T. panel and the Application are capable of programming all swinging,  sliding and folding doors within the record product offering. The master control shall have only digitally adjustable parameters (for repeatability purposes, employing potentiometers as a method of setting parameters shall not be allowed). The master control shall be a microprocessor capable of being programed for the control settings and the following:

Opening and closing speeds

Acceleration

Door open time delay

Remote door open time delay

Partial opening size

Reverse adjust sensitivity

Control of emergency battery back-up utilities

Fire alarm signals

Directional traffic flow

Locking

Remote input commands

Detect faults, including type of fault, and responds to them.

Sends data to the S.M.A.R.T. panel indicating that there is a fault.

Provides user with a telephone contact of the authorized service agent.

Updates to the software can be loaded and updated using the Application and dongle.

MOTION AND PRESENCE SENSORS

General:  Provide the types of activation and safety sensors specified, installed and adjusted in accordance with ANSI/BHMA A156.10 standards for the condition of exposure and for long-term, maintenance-free operation under normal traffic load for type of occupancy indicated.  Coordinate activation and safety devices with entrance operation and door operator mechanisms.

- <SPECIFIER:  “Knowing Act Activation” devices (Ex: push plates) are available, installed per ANSI/BHMA A156.10>

    - Activation Sensor:

The [BEA] [Optex] activation sensor shall use microwave technology to detect motion.  The sensor shall be centrally located in the clear door opening per ANSI/BHMA A156.10; header or wall mounted on each side of the entrance.

Safety Sensor:

The [BEA] [Optex] safety presence sensors shall use active infrared technology to detect presence.  The sensors shall be header-mounted on each side of the entrance and located per ANSI/BHMA A156.10 to protect the fold area of the door. Safety sensors shall remain active at all times.

ELECTRICAL

The folding automatic entrance shall consume no more than 100W of electricity at full load power.

Power:  120 VAC, 1 phase, 5 amp dedicated circuit per folding automatic entrance shall be provided to the header by others.

- <SPECIFIER:  The following battery back-up is required with electrified locking>

    - [Battery Back-up:  A header mounted UPS (uninterruptible power supply) that provides 300 opening cycles.]

FABRICATION

General:  Factory fabricate automatic entrance components to designs, sizes, and thicknesses indicated and to comply with indicated standards.

Miscellaneous hardware:  Factory installed per project requirements.

Framing:  Prefabricated to be assembled in field.

Door operator:  Factory installed in header.

Glazing:  Prefabricated glazing stops included per customer specification.

[ACCESSORIES]

- <SPECIFIER:  Guide rails are required per ANSI/BHMA A156.10 unless the folding panels are located adjacent to a wall>

[Guide Rails:  Wall mounted, L-shaped configuration with single horizontal bar. Guide rails shall be 36” high.  Guide rails shall meet the requirements of ANSI/BHMA A156.10.]

ALUMINUM FINISHES

Comply with NAAMM’s “Metal Finishes Manual for Architectural and Metal Products” for applying and designing finishes. Finish designations beginning with “AA” comply with requirements established by American Architectural Manufacturers Association (AAMA).

- <SPECIFIER:  Select finish as required for project>

[Clear Anodized:  Architectural Class II Anodized Coating (AA-MI2C22A31).]

[Clear Anodized:  Architectural Class I Anodized Coating (AA-MI2C22A41).]

[Dark Bronze Anodized:  Architectural Class I Anodized Coating (AA-MI2C22A44).]

[Medium Bronze Anodized:  Architectural Class I Anodized Coating (AA-MI2C22A44).]

[Light Bronze Anodized:  Architectural Class I Anodized Coating (AA-MI2C22A44).]

[Champagne Anodized:  Architectural Class I Anodized Coating (AA-MI2C22A44).]

[Black Anodized:  Architectural Class I Anodized Coating (AA-MI2C22A44).]

[Kynar Paint Coating:  As selected by Architect from full range of industry colors and color densities.]

[Powder Coat:  To match Architect’s sample.]

EXECUTION

INSPECTION

Inspect frame opening for correct size, plumb and square and level floor for safe and reliable performance.

Examine roughing-in for electrical source power to verify actual locations of wiring connections.

Provide written notification to the appropriate personnel of conditions not acceptable to the installer and/or manufacturer. Proceed with installation only after necessary corrections are made to ensure a suitable opening.

INSTALLATION

General:  Install automatic entrances according to manufacturer's written instructions and cited ANSI/BHMA standard, including signage, controls, wiring, and connection to the building's power supply.

Do not install damaged components.  Fit frame joints to produce hairline joints free of burrs and distortion.  Rigidly secure nonmovement joints.  Seal joints watertight.

Install folding entrance unit plumb, square, and level in properly prepared and supported opening, using specified fasteners, as required by installation instructions, and as detailed on the shop drawings.

Install surface-mounted hardware using concealed fasteners to greatest extent possible.

Set headers, carrier assemblies, tracks, operating brackets, and guides level and true to location with anchorage for permanent support.

Door Operators:  Connect door operators to electrical power distribution system.

Access-Control Devices:  Connect access-control devices to access-control system as specified in Division 28 Sections “Electronic Safety and Security”.

Glazing:  Glaze folding automatic entrance panels in accordance with the Glass Association of North America (GANA) Glazing Manual, published recommendations of glass product manufacturer, and published instructions of automatic entrance system manufacturer.

Sealants:  Comply with requirements specified in division 7 Section “Joint Sealants” to provide a weathertight installation.

Set thresholds and framing members in full bed of sealant.

Seal perimeter of framing members with sealant.

Signage:  Apply signage on both sides of each folding panels as required by the ANSI/BHMA standard and manufacturers installation instructions.

ADJUSTING

Adjust hardware, moving parts, door operators, and controls to function smoothly, and lubricate as recommended by manufacturer; comply with requirements of applicable ANSI/BHMA standards.

Verify installation and alignment of all entrance weather-stripping as required for weathertight closure and specified air infiltration requirements.

FIELD QUALITY CONTROL

An AAADM certified technician shall inspect and approve automatic entrances for compliance with the ANSI/BHMA standards before placing the entrances into operation. The certified technician shall be approved by the manufacturer.

CLEANING

Clean glass and metal surfaces promptly after installation.  Remove excess glazing and sealant compounds, dirt, and other substances.  Repair damaged finish to match original finish.

Clean adjacent surfaces soiled by door installation.

DEMONSTRATION

Engage a factory-authorized service representative to train Owner's maintenance personnel to adjust, operate, and maintain automatic entrances.

- END OF SECTION 08 42 29.23